STORM Imaging Buffers

2-mercaptotheanol:  Sigma Aldrich #63689-25ML-F

Cysteamine (MEA):  Sigma Aldrich #30070-10G

Glucose Oxidase from Aspergillus niger-Type VII, lyophilized powder, >100,000 units/g solid:

Sigma Aldrich #G2133-10KU

Catalase from bovine liver-lyophilized powder, >10,000 units/mg protein:

Sigma Aldrich #C40-100MG or CalBiochem #21901-5MU

1M Tris pH 8.0:  Life Technologies #AM9855G

1N HCl:  Electron Microscopy Sciences #16770

Phosphate-Buffered Saline (PBS), 1x:  Electron Microscopy Sciences #19344-10

NaCl:  Sigma #S9888-25G

Solutions:

*1M MEA (4ml):  recommended 77mg MEA + 1.0ml 0.25N HCl.  Increased by 4x amount

= 0.308g MEA + 4ml 0.25N HCl

Good for 1 month at 4oC

4.0 ml of 0.25N HCl = 1ml 1N HCl + 3ml H2O

*GLOX Solution (1.75ml) :  recom. 14mg Glucose Oxidase + 50ul Catalase (17mg/ml) + 200ul Buffer A

1 vial has 7x the amount needed, so multiply amounts by 7-fold.

1 vial Glucose Oxidase 10KU + 350ul Bovine Catalase (17mg/ml) + 1.4ml Buffer A

Spin down at 14K rpm, use only supernatant.  Store 4oC for 2 weeks.

Glucose Oxidase:  10KU per vial = 10,000Units / 100,000units/g = 0.10g or 100mg/vial

Need 14mg, so 1 vial has about 7x the amount needed.

Bovine Catalase:  5MU per vial = 5,000,000Units / 10,000units/mg = 500mg/vial

Need 17mg/ml, so vial has about 30x the amount needed.

Dissolve 1 vial 5MU Bovine Catalase in 30ml H2O = 17mg/ml

*Buffer A (10ml):  10mM Tris (pH 8.0) + 50mM NaCl

100ul 1.0M Tris (pH 8.0) + 500ul 1.0M NaCl + 9.4ml H2O

1M NaCl (10ml) = 0.58g / (58.44g/mole)(0.01L), so dissolve 0.58g NaCl in 10ml H2O = 1M NaCl

(0.010M Tris)(0.010L)/(1.0M Tris) = 0.0001L = 100ul 1.0M Tris pH8 in 10ml

(0.050M NaCl)(0.010L)/(1.0M NaCl) = 0.0005L = 500ul 1.0M NaCl in 10ml

*Buffer B (10ml):  50mM Tris (pH 8.0) + 10mM NaCl + 10% Glucose

500ul 1.0M Tris (pH 8.0) + 100ul 1.0M NaCl + 1 g Glucose + 9.4ml H2O

(0.050M Tris)(0.010L)/(1.0M Tris) = 0.0005L = 500ul 1.0M Tris pH8 in 10ml

(0.010M NaCl)(0.010L)/(1.0M NaCl) = 0.0001L = 100ul 1.0M NaCl in 10ml

Weight (g) * 100/Volume (ml) = %, so (10% Glucose * 10ml) / 100 = 1 gram Glucose

Method A:  recommended for ATTO 488 and Alexa 568.  If using either with Alexa 647, use Method A.

STORM Imaging Buffer with MEA

- On ice, add 7ul GLOX + 70ul MEA + 620ul Buffer B.

- Add 700ul imaging buffer per well of 8-wll Lab-Tek

- Samples can be used in imaging buffer for several hours.

Method B:  recommended for Alexa 647 and Cy3B

STORM Imaging Buffer with 2-mercaptoethanol

- On ice, combine 7ul GLOX + 7ul 2-mercaptoethanol + 690ul Buffer B.

- Add 700ul imaging buffer per well of 8-wll Lab-Tek

- Samples can be used in imaging buffer for several hours.